## Front Page
Datasuraksha
DATA CENTER Check List
Kindly visit our website datasuraksha.com

## Version
Version | Action Date | Author | Reviewed By | Approved BY | Change
1

## Check-list
SLN | Department | Controls | Check Points | Verified (Y/N)
| Facility Mangment | Access Control | Access Entry /Biometric in place
Anti-pass-back enabled
All Entry and exit logs are captured and stored
Access review in place
|  | Door Sensor | Alarm for open Door , if door open more that 60 seconds
|  | CCTV | CCTV facing Entry and Exit point
Video stored as per organization retention policy
Monitoring /verifying daily camera working or not
|  | Power Supply | DC must have two Power supply from Different Sources
DC must have UPS and configured with different power supply
ATS (Automatic Transfer switch ) configured
Power grounding , grounding Point should be available for each rack
|  | FM-200 Systems | DC must have FM200 system in place
|  | AC and cooling | DC must have AC and cooling supply
DC must equipped with Measuring units of AC and cooling
|  | Air Quality | DC must be Equipped with Air Quality Sensors to monitor Acidic gaes as per ISH standard 71.04-2012
|  | water leakage | DC must be equipped with water leakage Detecting system
|  | Smoke Detection | DC must be equipped with smoke Detection system
|  | Fire Extinguisher | DC must be equipped with Fire Extinguisher system
|  | Pest Control | in the Data Center regularly pest control must be conduct and should have scheduled plan for same
|  | Rodent Control | DC must be equipped with Rodent Control system
|  | Signage | DC must be have signage board which can give clear indications
| IT management | CMDB | All Asset must have proper Asset ID
All Assets need to Mapped to Owner
All Asset Location need to be captured in CMDB
Asset AMC/Warranty information need to capture
Asset Movement information need to be captured
Asset procurement process need to follow
|  | RACK | in DC all Standard RACK need to be placed , with 42 U
Rack Must have proper Label
Must have Rack U space utilization track
Rack must have 2 PDU with different power Sources
All Rack door must closed
|  | PDU | Always Check PUD Capacity
PDU must Connected Primary and Secondary Power supply
|  | Cabling | Copper and fiber Cable must Comply with Current Standard
Cable must clearly labeled
Patch Panel must be placed in top of the rack
|  | Network Connectivity | Must Track network Capacity and utilization
Each Device must have Primary and secondary Connection
We must have complete network Diagram with proper Approval and version control
|  | Authorized List | Shall maintain list of DC authorized person
Maintain Visitor register
|  | Device monitoring | IT Asset Monitoring
Asset Up-Time Monitoring
Alert Mechanisms
Power and Thermal management